{"text_format":"2","workbook":"xls","n_sheets":4,"sheets":["Kopā","Savilkums","1","2"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Kopā","index":0,"n_rows":21,"n_cols":5,"rows_kept":21,"cut":false,"hidden":false,"merged":[[7,0,7,4],[15,2,16,3],[17,2,17,3],[17,0,17,1],[15,0,16,1],[15,4,16,4],[8,2,8,4]],"flags":["formulas_cached_only"]}
[null,null,"APSTIPRINU:"]
[]
[{"$nulls":4},"/______________/___________________/"]
[null,null,null,"             Paraksts                             atšifrējums"]
[{"$nulls":4},"z.v."]
[{"$nulls":4},"2011. g. \"_____  \"________________"]
[]
["Būvniecības koptāme"]
["Būves nosaukums:",null,"Mazirbes internātpamatskolas siltumtrases tīklu renovācija "]
["Objekta nosaukums:",null,"Mazirbes internātpamatskolas siltumtrases tīklu renovācija "]
["Objekta adrese:",null,"Mazirbes speciālā internātpamatskola, Mazirbes ciems, Kolkas pagasts, Dundagas novads, LV-3275"]
["Pasūtījuma Nr.",null,"Dundagas novada pašvaldība, DND/2011/13"]
[]
[null,null,"Cilvēkstundas: ",null,0]
[null,null,"Tāme sastādīta:",null,0]
["Tāmes nr.",null,"Tāmes nosaukums",null,"Izmaksas BEZ PVN 22% Ls"]
[]
["1",null,"Mazirbes internātpamatskolas siltumtrases tīklu renovācija ",null,0]
[null,null,null,"Kopā bez PVN Ls:",0]
[null,null,null,"PVN 22% Ls:",0]
[null,null,null,"Kopā ar PVN Ls:",0]

{"sheet":"Savilkums","index":1,"n_rows":25,"n_cols":8,"rows_kept":25,"cut":false,"hidden":false,"merged":[[14,5,14,7],[17,0,17,1],[6,0,6,7],[14,0,15,1],[14,2,15,2],[14,3,15,3],[16,0,16,1],[14,4,15,4]],"flags":["formulas_cached_only"]}
[{"$nulls":5},"APSTIPRINU:"]
[]
[{"$nulls":5},"/______________/___________________/"]
[{"$nulls":5},"     Paraksts                             atšifrējums"]
[{"$nulls":7},"z.v."]
[{"$nulls":5},"2011. g.","\"_____  \"________________"]
["Kopsavilkums"]
["Būves nosaukums:",null,"Mazirbes internātpamatskolas siltumtrases tīklu renovācija "]
["Objekta nosaukums:",null,"Mazirbes internātpamatskolas siltumtrases tīklu renovācija "]
["Objekta adrese:",null,"Mazirbes speciālā internātpamatskola, Mazirbes ciems, Kolkas pagasts, Dundagas novads, LV-3275"]
["Pasūtījuma Nr.",null,"Dundagas novada pašvaldība, DND/2011/13"]
[]
[null,null,"Cilvēkstundas: ",0]
[null,null,"Tāme sastādīta:"]
["Tāmes nr.",null,"Tāmes nosaukums","Tiešās izmaksas BEZ PVN 22% Ls","Darba ietilpība C/st","Kopējās izmaksas, tai skaitā"]
[{"$nulls":5},"Dalba alga Ls","Materiāli Ls","Mehanismi Ls"]
[1,null,"Siltumtrase - ārējā",0,0,0,0,0]
[2,null,"Siltumtrase - katlumājā",0,0,0,0,0]
[null,null,"Tiešās izmaksas kopā Ls:",0,0,0,0,0]
[null,null,"Materiālu sagāde, transports ...% Ls:"]
[null,null,"Uzņēmuma virsizdevumi ...% Ls:"]
[null,null,"Plānotie uzkrājumi ...% Ls:"]
[null,null,"Neparedzētie izdevumi 4% Ls:"]
[null,null,"Darba devēja sociālais nodoklis 24.09% Ls:",0]
[null,null,"Kopā bez PVN 22% Ls:",0]

{"sheet":"1","index":2,"n_rows":55,"n_cols":17,"rows_kept":55,"cut":false,"hidden":false,"merged":[[52,0,52,4],[0,0,0,15],[1,0,1,15],[8,11,8,12],[6,11,6,12],[7,11,7,12],[8,0,8,2],[9,7,9,10],[9,16,12,16],[10,7,10,10],[9,12,9,15],[10,12,10,15]],"flags":["formulas_cached_only"]}
["Lokālā tāme Nr. 1"]
["Siltumtrase - ārējā",{"$nulls":15},"Siltumtrase - ārējā"]
["Būves nosaukums:",null,"Mazirbes internātpamatskolas siltumtrases tīklu renovācija "]
["Objekta nosaukums:",null,"Mazirbes internātpamatskolas siltumtrases tīklu renovācija "]
["Objekta adrese:",null,"Mazirbes speciālā internātpamatskola, Mazirbes ciems, Kolkas pagasts, Dundagas novads, LV-3275"]
["Pasūtījuma Nr.",null,"Dundagas novada pašvaldība, DND/2011/13"]
[{"$nulls":10},"Cilvēkstundas: ",0]
[{"$nulls":10},"Tāme sastādīta:",0]
[{"$nulls":10},"Tiešās izmaksas:",0]
[{"$nulls":7},"Vienības izmaksa",{"$nulls":4},"Kopējās izmaksas"]
["Nr.","Izmērs","Darba un izdevumu nosaukums","Vienība","Daudz.","Laika","Darba ","tai skaitā",null,null,null,"Darba","tai skaitā"]
["p.",null,"pielietotie materiāli, to daudzums",null,null,"norma","samaksa","Darba alga","Materiāli","Mehanismi","Kopā","ietilpība","Darba alga","Materiāli","Mehanismi","Kopā"]
["k.",{"$nulls":4},"C/st","Ls","Ls","Ls","Ls","Ls","C/st","Ls","Ls","Ls","Ls"]
[1,2,3,4,5,6,7,"8","9","10","11","12","13","14","15","16"]
[1,"Ø42/125","Rūpnieciski izolētas caurules","m",120]
[2,"Ø48/125","Rūpnieciski izolētas caurules","m",140]
[3,"Ø60/140","Rūpnieciski izolētas caurules","m",32]
[4,"Ø42/125 90°","Līkums izolēts","gab",6]
[5,"Ø48/125 45°","Līkums izolēts ","gab",4]
[6,"Ø48/125 90°","Līkums izolēts ","gab",2]
[7,"Ø60/125 90°","Līkums izolēts ","gab",2]
[8,"Ø60/Ø42/Ø48","T-atzars izolēts, perpendikulārs","gab",2]
[9,"Ø42/125","Ievads elastīgais","gab",4]
[10,"Ø48/125","Ievads elastīgais","gab",4]
[11,"Ø60/125 ","Ievads elastīgais","gab",4]
[12,"Ø42/125","Gala uzmava","gab",4]
[13,"Ø48/125","Gala uzmava","gab",4]
[14,"Ø60/125","Gala uzmava","gab",2]
[15,"Ø42/125","Savienojuma izolācijas materiāli","kompl",20]
[16,"Ø48/125","Savienojuma izolācijas materiāli","kompl",20]
[17,"Ø60/140","Savienojuma izolācijas materiāli","kompl",6]
[18,null,"Brīdinājuma lenta","m",150]
[19,"Ø42","Metināms lodveida ventilis NAVAL","gab",2]
[20,"Ø48","Metināms lodveida ventilis NAVAL","gab",2]
[21,"Ø60","Metināms lodveida ventilis NAVAL","gab",2]
[22,"Ø40x5,5/32x4,4/175","Aqua Twin-karstajam ūdenim","m",133]
[23,"Ø50x6,9/40x5,5/200","Aqua Twin-karstajam ūdenim","m",16]
[24,"Ø40/175","Gala noslēguzmava Twin","gab",8]
[25,"Ø50/200","Gala noslēguzmava Twin","gab",4]
[26,"Ø42","Noslēgventīls","gab",2]
[27,"Ø48","Noslēgventīls","gab",2]
[28,"Ø60","Noslēgventīls","gab",2]
[29,null,"Montāžas materiāli","kompl",1]
[30,null,"Esošo ST kanālu atvēršana, cauruļu demontāža","m",150]
[31,null,"Esošo komunikāciju šķērsošana","vieta",7]
[32,null,"Liekās grunts izvešana","m³",102.5]
[33,null,"Šķembas","m³",22.5]
[34,null,"Smilts","m³",80]
[35,null,"Asfalta uzlaušana un atjaunošana","m²",75]
[36,null,"Grants","m³",80]
[37,null,"Rakšanas darbi","m",150]
[38,null,"Augsnes rekultivācija ar zālāju sēšanu","m³",450]
[{"$nulls":11},0,0,0,0,0]
[]
[{"$nulls":9},"Tiešās izmaksas:","Ls.",0,0,0,0,0]

{"sheet":"2","index":3,"n_rows":26,"n_cols":17,"rows_kept":26,"cut":false,"hidden":false,"merged":[[9,16,12,16],[9,7,9,10],[9,12,9,15],[10,12,10,15],[23,0,23,4],[0,0,0,15],[1,0,1,15],[8,11,8,12],[6,11,6,12],[7,11,7,12],[8,0,8,2],[10,7,10,10]],"flags":["formulas_cached_only"]}
["Lokālā tāme Nr.2"]
["Siltumtrase - katlumājā",{"$nulls":15},"Siltumtrase - katlumājā"]
["Būves nosaukums:",null,"Mazirbes internātpamatskolas siltumtrases tīklu renovācija "]
["Objekta nosaukums:",null,"Mazirbes internātpamatskolas siltumtrases tīklu renovācija "]
["Objekta adrese:",null,"Mazirbes speciālā internātpamatskola, Mazirbes ciems, Kolkas pagasts, Dundagas novads, LV-3275"]
["Pasūtījuma Nr.",null,"Dundagas novada pašvaldība, DND/2011/13"]
[{"$nulls":10},"Cilvēkstundas: ",0]
[{"$nulls":10},"Tāme sastādīta:",0]
[{"$nulls":10},"Tiešās izmaksas:",0]
[{"$nulls":7},"Vienības izmaksa",{"$nulls":4},"Kopējās izmaksas"]
["Nr.","Izmērs","Darba un izdevumu nosaukums","Vienība","Daudz.","Laika","Darba ","tai skaitā",null,null,null,"Darba","tai skaitā"]
["p.",null,"pielietotie materiāli, to daudzums",null,null,"norma","samaksa","Darba alga","Materiāli","Mehanismi","Kopā","ietilpība","Darba alga","Materiāli","Mehanismi","Kopā"]
["k.",{"$nulls":4},"C/st","Ls","Ls","Ls","Ls","Ls","C/st","Ls","Ls","Ls","Ls"]
[1,2,3,4,5,6,7,"8","9","10","11","12","13","14","15","16"]
[1,null,"Esošo cauruļu demontāža","m",50]
[2,"Ø60","Tērauda el.metināmās melnās caurules","m",50,null,null,0,null,null,0,0,0,0,0,0]
[3,"Ø60","Paroc izolācijas čaulas","m",50,null,null,0,null,null,0,0,0,0,0,0]
[4,null,"Metāla kronšteini ar stiprinājumiem","kompl",14,null,null,0,null,null,0,0,0,0,0,0]
[5,"Ø40","PPR caurules ar veidgabaliem","m",25,null,null,0,null,null,0,0,0,0,0,0]
[6,"Ø50","PPR caurules ar veidgabaliem","m",25,null,null,0,null,null,0,0,0,0,0,0]
[7,null,"Pieslēgums pie esošajiem tīkliem","vieta",4]
[8,null,"Statiskās siltumenerģijas mērīšanas iekārtu uzstādīšana skolā un dzīvojamā mājā ","kompl",2]
[9,null,"Siltā un aukstā ūdens patēriņa skaitītāju uzstādīšana skolā un dzīvojamā mājā ","kompl",2,null,null,0,null,null,0,0,0,0,0,0]
[{"$nulls":11},0,0,0,0,0]
[]
[{"$nulls":9},"Tiešās izmaksas:","Ls.",0,0,0,0,0]